## BOQ
S Nos | Location | Description of Item | Unit | Qty | HSN Code | GST(%) | Purchase cost | Fright | Insurance
1 | Nagpur | Power Transformers |  |  |  | 0 | 0 | 0 | 0
1.1 | Nagpur | 220/132kV, 160 MVA | Nos | 1 |  | 3 | 43667834.655 | 200 | 350
1.2 | Nagpur | Heat run test | Nos | 1 |  | 5 | 203961.5475 | 0 | 0
1.3 | Nagpur | Impulse test | Nos | 1 |  | 5 | 339935.91 | 89 | 700
2 | Nagpur | 245kV GIS Equipment |  |  |  | 0 | 0 | 0 | 0
2.1 | Nagpur | 245kV, 1600A, 40 kA for 1 sec, SF6 gas insulated bay module each comprising of SF6 gas insulated circuit breaker, current transformer, bus-bar disconnectors with common grounding switch, disconnector with safety grounding switchfes), local control cubicle, SF6 gas monitoring system,double bus bar for complete bay, gas insulated terminal connection for connecting XLPE Cable) with GIS etc. to complete Transformer Bay Module.132 kv transformer 160 mva | Set | 1 |  | 12 | 17953345.68 | 700 | 450
2.2 | Nagpur | 245kV, 1600 A, 40 kA for 1 sec, SF6 gas insulated bay module each comprising of SF6 gas insulated circuit breaker, current transformer, bus-bar disconnectors with common grounding switch, disconnector with safety grounding switch(es), local control cubicle, SF6 gas monitoring system,double bus bar for complete bay, gas insulated terminal connection for connecting XLPE Cable) with GIS etc, to complete Transformer Bay Module. 60 mva transformer | set | 2 |  | 5 | 17953345.68 | 200 | 250